## Slide 1: 專論計畫
陳良政 方郁文

## Slide 2: Original Paper
Phys Med Biol. 2020 Jan 27;65(3):035003. (Impact Factor: 3.03 )

## Slide 3: Problem: Apply on more difficult site-Pelvis Data
Enhance Low Quality Cone Bean CT images with Deep Learning Methods
Goal is to remove artifacts, and the noises on CBCT images
60 CT series from Dalin Tzuchi
Can extract more than 1344 cbct/ct image pairs for training

## Slide 4: Registration
Image Registration and Match Window Size

## Slide 5: Extract Ct and Cbct pair
Extract Registrated CT and CBCT pair

## Slide 6: Extract Ct and Cbct pair : How To
There isn’t a complete tutorial online on this topic
It may be important to keep a Step-by-Step tutorial on how to preprocess the data

## Slide 7: Data pair
A pair of data should look like this

## Slide 8: Data pair
A pair of data should look like this
Cone Beam CT slides
CT slides
Registration file

## Slide 9: Data pair
A pair of data should look like this
Note that Registration file is very important. Without applying registration on CT and CBCT pair, the training will not work
Cone Beam CT slides
CT slides
Registration file

## Slide 10: Data pair
A pair of data should look like this
Note that Registration file is very important. Without applying registration on CT and CBCT pair, the training will not work
Cone Beam CT slides
CT slides
Registration file

## Slide 11: Processing utility

## Slide 12: Open data with 3D Slicer
Click Load DICOM Data

## Slide 13: Open data with 3D Slicer
Click Import DICOM files

## Slide 14: Open data with 3D Slicer
Select a case

## Slide 15: Open data with 3D Slicer
Select the two CT pair and the registration file

## Slide 16: Apply registration
Moudles => Registration => Resample Image (BRAINS)

## Slide 17: Apply registration
Use these settings:
Image To Warp: cbct
Reference Image: ct
Output Image: create new volumn
Transform file: the reg file
Default Value: -1000
Click Apply

## Slide 18: Registration done
the z axis should be the same

## Slide 19: Save Transform result
Pull the registrated
slices under same patient

## Slide 20: Save Transform result
right click on volumn =>
Export to DICOM

## Slide 21: Read Registrated Dicom file
Use pydicom

## Slide 22: Training
Model:
UNet
Loss: Mean Absolute Error
Evaluation: 1. MAE
2. Signal to Noise Ratio
3. Structrual Similarity

## Slide 23: Training :

## Slide 24: Final Model :
Unet with Resnet152 as Backbone
MAE | SNR | SSIM
16.506871957429414 | 17.051995686835642 | 0.7123112759665045
Our Result
b) Result of reference paper

## Slide 25: Example
Pros:
  Artifact Correction:
    Bone or metal: beam hardening
    streak and dark bands
    metal artifact/high-density foreign material artifact
Cons
  Inaccurate abdominal/pelvic soft tissue position
  Better MAE and SNR but lower SSIM compare to head and neck cancer eCBCT result

## Slide 26
Notes: 014

## Slide 30: Testing Website
http://140.116.247.177:5757/run_model/
Future work: CycleGAN or other models

## Slide 31: Checkpoints
Data Collect
Image Registration
Discuss about preprocessing (which window size)
Train Model with registered Images
Evaluation Metrics
Discuss with Doctor about the result
Host a server for this system